## 2000-ADAPTERS (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 18882 | ADAPTER,1/2IN,MALE,CONDUIT,PVC | 18 | EA | 2.06 | M-0002000 | x |  |  | Not on contract
1000 | 34473 | ADAPTER,1-1/2IN,TRIPLEYE,GUY,SQ SHAFT | 40 | EA | 1100.27 | M-0002000 | x |  |  | Not on contract
1000 | 18876 | ADAPTER,1IN,FEMALE,CONDUIT,PVC | 15 | EA | 3.62 | M-0002000 | x |  |  | Not on contract
1000 | 18884 | ADAPTER,1IN,MALE,CONDUIT,PVC | 47 | EA | 10.05 | M-0002000 | x |  |  | Not on contract
1000 | 18887 | ADAPTER,2-1/2IN,MALE,CONDUIT,PVC | 20 | EA | 18.6 | M-0002000 | x |  |  | Not on contract
1000 | 18886 | ADAPTER,2IN,MALE,CONDUIT,PVC | 75 | EA | 57.23 | M-0002000 | x |  |  | Not on contract
1000 | 18883 | ADAPTER,3/4IN,MALE,CONDUIT,PVC | 50 | EA | 9.82 | M-0002000 | x |  |  | Not on contract

## 2000-CABLES (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 22319 | CABLE,4/0 CU STR,GRD,YELLOW NEOPRENE | 500 | FT | 5425.2 | M-0002030 | x |  |  | Not on contract
1000 | 43928 | CABLE,CAT 5E,3FT,PC,YELLOW | 25 | EA | 83.68 | M-0002030 | x |  |  | Not on contract
1000 | 43981 | CABLE,CAT 5E,15FT,PC,YELLOW | 25 | EA | 159.65 | M-0002030 | x |  |  | Not on contract
1000 | 43982 | CABLE,CAT 5E,20FT,PC,YELLOW | 25 | EA | 191.3 | M-0002030 | x |  |  | Not on contract
1000 | 62769 | CABLE,2C,#10,THHN/THWN,600V | 20000 | FT | 9843.79 | M-0002080 | x |  |  | Not on contract
1000 | 73332 | CABLE,2 METER,PATCH,DUPLEX,LC-LC,SM | 40 | EA | 393.24 | M-0000400 | x |  |  | Not on contract
1000 | 73333 | CABLE,2 METER,PATCH,DUPLEX,LC-LC,MM | 32 | EA | 314.38 | M-0000400 | x |  |  | Not on contract

## 2000-CRIMPITS (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 22117 | CRIMPIT,#2 - #2,STREET LIGHTING | 1000 | EA | 629.21 | M-0002000 | x |  |  | Not on contract
1000 | 22105 | CRIMPIT,#2 ACSR - 8 STR | 1200 | EA | 524.55 | M-0002000 | x |  |  | Not on contract
1000 | 22113 | CRIMPIT,#2-1/0 - #6-#4-#2 | 100 | EA | 69.02 | M-0002000 | x |  |  | Not on contract
1000 | 22118 | CRIMPIT,1/0-2/0 STR - #2 STR | 2500 | EA | 6633.39 | M-0002000 | x |  |  | Not on contract
1000 | 22164 | CRIMPIT,397 ACSR - 1/0 ACSR | 50 | EA | 135.57 | M-0002000 | x |  |  | Not on contract
1000 | 22165 | CRIMPIT,397 ACSR - 4/0 ACSR,H-TYPE | 200 | EA | 269.24 | M-0002000 | x |  |  | Not on contract
1000 | 22139 | CRIMPIT,4/0 ACSR - #2 ACSR | 300 | EA | 613.38 | M-0002000 | x |  |  | Not on contract
1000 | 22143 | CRIMPIT,4/0 ACSR - 1/0 ACSR | 200 | EA | 489.58 | M-0002000 | x |  |  | Not on contract
1000 | 22179 | CRIMPIT,477AAC - 1/0 AAC | 50 | EA | 154.34 | M-0002000 | x |  |  | Not on contract
1000 | 22181 | CRIMPIT,500-4/0 & 500-4/0,H-TYPE | 125 | EA | 330.34 | M-0002000 | x |  |  | Not on contract
1000 | 22180 | CRIMPIT,556-4/0 & 4/0-1/0,H-TYPE | 350 | EA | 726.28 | M-0002000 | x |  |  | Not on contract

## 2000_2030-BUS SUPPORT & TERMINA (hidden)
Plant | MID | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 75457 | BUS SUPPORT,1272 AAC,5IN BC | 12 | EA | 765.9 | M-0002030 | x |  |  | Not on contract
1000 | 75468 | BUS SUPPORT,2-1/2IN,AL PIPE,5IN BC | 40 | EA | 4040.23 | M-0002030 | x |  |  | Not on contract
1000 | 63805 | BUS SUPPORT,2-1/2IN,AL PIPE-5" OPEN BASE | 59 | EA | 4930.21 | M-0002030 | x |  |  | Not on contract
1000 | 75454 | BUS SUPPORT.1-14IN BRONZE PIPE,PEDESTAL | 40 | EA | 5956.85 | M-0002030 | x |  |  | Not on contract
1000 | 73170 | BUS TEE,1272-1590,AL,BOLTED | 36 | EA | 3015.36 | M-0002030 | x |  |  | Not on contract
1000 | 75456 | BUS TEE,2-1/2IN AL PIPE, 1272 AAC,BOLTED | 18 | EA | 1666.89 | M-0002030 | x |  |  | Not on contract
1000 | 75463 | BUS TERM,1-1/4" CU PIPE,2-HOLE PAD,90DEG | 30 | EA | 4439.56 | M-0002030 | x |  |  | Not on contract
1000 | 75469 | BUS TERM,300 KCM CU,4-HOLE PAD,BOLTED | 80 | EA | 6411.34 | M-0002030 | x |  |  | Not on contract
1000 | 75466 | BUS TERM,336 ACSR,4-HOLE PAD,BLTD,90DEG | 30 | EA | 1122.69 | M-0002030 | x |  |  | Not on contract
1000 | 75464 | BUS TERMINAL,1-1/4IN CU PIPE,2-HOLE PAD | 12 | EA | 1326.35 | M-0002030 | x |  |  | Not on contract
1000 | 75459 | BUS TERMINAL,336 ACSR,2-HOLE PAD,BOLTED | 24 | EA | 734.85 | M-0002030 | x |  |  | Not on contract
1000 | 35245 | BUS TERMINAL,1272-1590 AAC,4-HOLE PAD | 376 | EA | 19345.72 | M-0002000 | x |  |  | Not on contract
1000 | 63803 | BUS TERMINAL,2-1/2IN PIPE-4 HOLE PAD, AL | 12 | EA | 831.96 | M-0002000 | x |  |  | Not on contract
1000 | 63704 | BUS TERMINAL,90 DEG,1272-1590 AAC,4-HOLE | 30 | EA | 1767.66 | M-0002000 | x |  |  | Not on contract

## 2000-TERMINALS HARDWARE (hidden)
Plant | MID | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 19014 | TERMINAL BLOCK,6 POS,45A,#8 WIRE | 75 | EA | 2582.49 | M-0002000 | x |  |  | Not on contract
1000 | 22078 | TERMINAL FORK, #22-#18,#6 STUD,RED | 500 | EA | 180.84 | M-0002000 | x |  |  | Not on contract
1000 | 22080 | TERMINAL FORK,#16-#14,#6 STUD,BLUE | 200 | EA | 83.38 | M-0002000 | x |  |  | Not on contract
1000 | 22083 | TERMINAL LUG,#12 - #10,1/4IN STUD,YELLOW | 1000 | EA | 500.78 | M-0002000 | x |  |  | Not on contract
1000 | 22082 | TERMINAL LUG,#12- #10,#10 STUD,YELLOW | 23500 | EA | 15000.77 | M-0002000 | x |  |  | Not on contract
1000 | 47998 | TERMINAL LUG,#12-#10,#8 STUD,YELLOW | 1625 | EA | 668.55 | M-0002000 | x |  |  | Not on contract
1000 | 22199 | TERMINAL LUG,1272,AAC,4-HOLE,COMPRESSION | 94 | EA | 5298.31 | M-0002000 | x |  |  | Not on contract
1000 | 22162 | TERMINAL LUG,336,ACSR,2-HOLE,COMPRESSION | 125 | EA | 1059.77 | M-0002000 | x |  |  | Not on contract
1000 | 35355 | TERMINAL LUG,350,CU,2-HOLE,1/2",COMPRESS | 530 | EA | 2747.11 | M-0002000 | x |  |  | Not on contract
1000 | 60317 | TERMINAL LUG,4/0,CU,1 HOLE COMPRESSION | 150 | EA | 714.49 | M-0002000 | x |  |  | Not on contract
1000 | 35374 | TERMINAL LUG,500,CU,2-HOLE,1/2",COMPRESS | 60 | EA | 533.73 | M-0002000 | x |  |  | Not on contract
1000 | 35385 | TERMINAL LUG,795 AAC,4-HOLE,WEDGE TYPE | 79 | EA | 2884.33 | M-0002000 | x |  |  | Not on contract
1000 | 21999 | TERMINAL PIN,#2 CU-AL,6IN PIN | 600 | EA | 3207.8 | M-0002000 | x |  |  | Not on contract
1000 | 22000 | TERMINAL PIN,1/0 CU-AL,6IN PIN | 48 | EA | 242 | M-0002000 | x |  |  | Not on contract
1000 | 22091 | TERMINAL RING,#10 - #12,1/4IN STUD,YELLO | 250 | EA | 143.58 | M-0002000 | x |  |  | Not on contract
1000 | 22090 | TERMINAL RING,#12 - #10,#10 STUD,YELLOW | 1000 | EA | 427.44 | M-0002000 | x |  |  | Not on contract
1000 | 22089 | TERMINAL RING,#16 - #14, #10 STUD,BLUE | 1000 | EA | 233.45 | M-0002000 | x |  |  | Not on contract
1000 | 22087 | TERMINAL RING,#22 - #18,#8 STUD,RED | 800 | EA | 412.93 | M-0002000 | x |  |  | Not on contract
1000 | 48665 | TERMINAL,RING,#22 - #18,#10 STUD,RED | 2700 | EA | 1038.54 | M-0002000 | x |  |  | Not on contract

## 2000-STRAPS (hidden)
Plant | MID | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 35013 | STRAP,1/2IN,CONDUIT,EMT | 50 | EA | 3.83 | M-0002000 | x |  |  | Not on contract
1000 | 35007 | STRAP,1-1/2IN,CONDUIT,2-PIECE,GALV | 35 | EA | 59.06 | M-0002000 | x |  |  | Not on contract
1000 | 35006 | STRAP,1-1/4IN,CONDUIT,2-PIECE,GALV | 32 | EA | 54.11 | M-0002000 | x |  |  | Not on contract
1000 | 35014 | STRAP,3/4IN,CONDUIT,EMT | 75 | EA | 6.09 | M-0002000 | x |  |  | Not on contract
1000 | 35011 | STRAP,5IN,CONDUIT,2-PIECE,GALV | 160 | EA | 922.31 | M-0002000 | x |  |  | Not on contract
1000 | 35012 | STRAP,6IN,CONDUIT,2-PIECE,GALV | 20 | EA | 152.78 | M-0002000 | x |  |  | Not on contract

## 2000-ELECTRICAL CONNECTORS (hidden)
Plant | MID | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 18928 | 228 | SET | 9143.14 | M-0002000 | x |  |  | Not on contract
1000 | 18986 | 75 | EA | 152.06 | M-0002000 | x |  |  | Not on contract
1000 | 18987 | 2070 | EA | 3688.45 | M-0002000 | x |  |  | Not on contract
1000 | 18988 | 480 | EA | 1423.77 | M-0002000 | x |  |  | Not on contract
1000 | 18989 | 35 | EA | 173.61 | M-0002000 | x |  |  | Not on contract
1000 | 19331 | 40 | FT | 79.84 | M-0002000 | x |  |  | Not on contract
1000 | 19348 | 50 | FT | 129.37 | M-0002000 | x |  |  | Not on contract
1000 | 19351 | 200 | FT | 1063.09 | M-0002000 | x |  |  | Not on contract
1000 | 19352 | 620 | FT | 4711.04 | M-0002000 | x |  |  | Not on contract
1000 | 19357 | 370 | FT | 1531.44 | M-0002000 | x |  |  | Not on contract
1000 | 19358 | 110 | FT | 1127.5 | M-0002000 | x |  |  | Not on contract
1000 | 19359 | 50 | FT | 773.4 | M-0002000 | x |  |  | Not on contract
1000 | 19362 | 850 | FT | 703.85 | M-0002000 | x |  |  | Not on contract
1000 | 19373 | 55 | EA | 574.79 | M-0002000 | x |  |  | Not on contract
1000 | 19395 | 17 | EA | 201.29 | M-0002000 | x |  |  | Not on contract
1000 | 19396 | 350 | EA | 1432.62 | M-0002000 | x |  |  | Not on contract
1000 | 21643 | 40000 | FT | 18671.47 | M-0002000 | x |  |  | Not on contract
1000 | 21645 | 6840 | FT | 14506.2 | M-0002000 | x |  |  | Not on contract
1000 | 21651 | 43 | EA | 164.73 | M-0002000 | x |  |  | Not on contract
1000 | 21665 | 1400 | EA | 2176.27 | M-0002000 | x |  |  | Not on contract
1000 | 22084 | 700 | EA | 319.96 | M-0002000 | x |  |  | Not on contract
1000 | 22086 | 4400 | EA | 1946.63 | M-0002000 | x |  |  | Not on contract
1000 | 22097 | 1900 | EA | 747.86 | M-0002000 | x |  |  | Not on contract
1000 | 34477 | 200 | EA | 1157.58 | M-0002000 | x |  |  | Not on contract
1000 | 34478 | 20 | EA | 3152.94 | M-0002000 | x |  |  | Not on contract
1000 | 34500 | 65 | EA | 1725.69 | M-0002000 | x |  |  | Not on contract
1000 | 34501 | 28 | EA | 1209.37 | M-0002000 | x |  |  | Not on contract
1000 | 34643 | 250 | EA | 57.83 | M-0002000 | x |  |  | Not on contract
1000 | 34646 | 25 | EA | 54.75 | M-0002000 | x |  |  | Not on contract
1000 | 34649 | 50 | EA | 17.95 | M-0002000 | x |  |  | Not on contract
1000 | 34650 | 25 | EA | 10.68 | M-0002000 | x |  |  | Not on contract
1000 | 34687 | 525 | EA | 9159.04 | M-0002000 | x |  |  | Not on contract
1000 | 35321 | 900 | EA | 1527.24 | M-0002000 | x |  |  | Not on contract
1000 | 35322 | 425 | EA | 805.21 | M-0002000 | x |  |  | Not on contract
1000 | 41993 | 18 | EA | 81.35 | M-0002030 | x |  |  | Not on contract
1000 | 44037 | 975 | EA | 225.85 | M-0002030 | x |  |  | Not on contract
1000 | 44038 | 100 | EA | 22.02 | M-0002030 | x |  |  | Not on contract
1000 | 59010 | 25 | FT | 302.79 | M-0002000 | x |  |  | Not on contract
1000 | 73751 | 24 | EA | 2907.12 | M-0002000 | x |  |  | Not on contract

## 2030-FUSES
Plant | MID | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Material Group | Anixter
Shedule D
1000 | 10008087 | FUSE,30E SLOW 14.4 KV NOMINAL,SMU20 | 12 | EA | M-0002030 | 135.6
1000 | 19786 | FUSE,1-STD,DROPOUT | 633 | EA | M-0002030 | 6.25
1000 | 19787 | FUSE,2-STD,DROPOUT | 3 | EA | M-0002030 | 6.25
1000 | 19789 | FUSE,6-T,DROPOUT | 555 | EA | M-0002030 | 6.35
1000 | 19791 | FUSE,8-T,DROPOUT | 1500 | EA | M-0002030 | 6.35
1000 | 19793 | FUSE,12-T,DROPOUT | 105 | EA | M-0002030 | 6.75
1000 | 19794 | FUSE,15-T,DROPOUT | 780 | EA | M-0002030 | 6.75
1000 | 19795 | FUSE,20-T,DROPOUT | 60 | EA | M-0002030 | 6.75
1000 | 19796 | FUSE,25-T,DROPOUT | 225 | EA | M-0002030 | 7.7
1000 | 19797 | FUSE,30-T,DROPOUT | 75 | EA | M-0002030 | 7.7
1000 | 19798 | FUSE,40-T,DROPOUT | 300 | EA | M-0002030 | 7.7
1000 | 19799 | FUSE,50-T,DROPOUT | 150 | EA | M-0002030 | 8.5
1000 | 19800 | FUSE,65-T,DROPOUT | 615 | EA | M-0002030 | 12.3
1000 | 19802 | FUSE,80-T,DROPOUT | 75 | EA | M-0002030 | 15
1000 | 19803 | FUSE,100-T,DROPOUT | 705 | EA | M-0002030 | 15
1000 | 19812 | FUSE,20-K,DROPOUT | 3 | EA | M-0002030 | 6.5
1000 | 19856 | FUSE,20E,A-15KV,SOLID MAT,TYPE SM-4 | 18 | EA | M-0002030 | 215
1000 | 19857 | FUSE,30E,A-15KV SOLID MAT,TYPE SM-4 | 3 | EA | M-0002030 | 215
1000 | 19864 | FUSE,125E,A-15KV SOLID MAT,TYPE SM-4 | 3 | EA | M-0002030 | 215
1000 | 19871 | FUSE,100E SLOW,14.4 KV,TYPE SM-4 | 3 | EA | M-0002030 | 215
1000 | 19873 | FUSE,200E A-15KV SOLID MAT,SM-5 | 3 | EA | M-0002030 | 260
1000 | 10008082 | FUSE,15E SLOW,14.4 KV NOMINAL,SMU20 | 3 | EA | M-0002030 | 135.6
1000 | 10008083 | FUSE,10E STD 14.4 KV NOMINAL,SMU20 | 3 | EA | M-0002030 | 135.6
1000 | 10008084 | FUSE,20E SLOW 14.4 KV NOMINAL,SMU20 | 9 | EA | M-0002030 | 135.6
1000 | 10008088 | FUSE,40E SLOW 14.4 KV NOMINAL,SMU20 | 3 | EA | M-0002030 | 135.6
1000 | 10008090 | FUSE,65E SLOW 14.4 KV NOMINAL,SMU20 | 9 | EA | M-0002030 | 135.6
1000 | 10008091 | FUSE,80E SLOW 14.4 KV NOMINAL,SMU20 | 81 | EA | M-0002030 | 135.6
1000 | 10008092 | FUSE,100E SLOW 14.4 KV NOMINAL,SMU20 | 18 | EA | M-0002030 | 135.6
1000 | 10008093 | FUSE,125E SLO 14.4 KV NOMINAL,SMU20 | 9 | EA | M-0002030 | 135.6
1000 | 10008094 | FUSE,150E SLOW 14.4 KV NOMINAL,SMU20 | 27 | EA | M-0002030 | 135.6
1000 | 10008095 | FUSE,175E SLO 14.4 KV NOMINAL,SMU20 | 3 | EA | M-0002030 | 135.6
1000 | 10008096 | FUSE,200E SLO 14.4 KV NOMINAL,SMU20 | 3 | EA | M-0002030 | 135.6

## 4100-LAMPS (LIGHTS)
Plant | Material | Material Description | Quantity for 3 Yrs
Schedule A |  |  |  | CED | Graybar | Platt
1000 | 20109 | LAMP,125VDC,IND,BL,LED,BAYONET BASE | 25 |  | 13.18
1000 | 10002307 | LAMP,125VDC,IND,GREEN,LED,BAYONET BASE | 20 |  | 13.18
1000 | 10002310 | LAMP,125VDC,IND,RED,LED,BAYONET BASE | 15 |  | 13.18
1000 | 74691 | LAMP,46W,LED,CORN STYLE,OMNIDIRECTIONAL | 12 |  | 90
1000 | 20069 | LAMP,70W,120V,FLOOD,MED BASE | 48 | 1.7 |  | 8.68
1000 | 10002273 | LAMP,CFT5W/G23/827,FLUOR,2-PIN | 60 |  | 2.72 | 2.57
1000 | 20076 | LAMP,FB40/CW/6,FLUOR,U-BENT,2-PIN | 12 | 5.7 |  | 7.35
1000 | 34781 | LAMP,FT40W/2G11/RS/835,COMPACT FLUOR | 50 | 5.15 | 5.85 | 5.89
1000 | 20075 | LAMP,FBO31/835-1-5/8IN,FLUOR,U-BENT,2-PI | 90 | 6.75 |  | sub
1000 | 20077 | LAMP,48IN T-8,FLUOR,RAPID START,2-PIN | 1530 | 1.94 |  | sub
1000 | 20141 | LAMP,67W 130V,TRAFFIC,CLEAR,MED BASE | 5
1000 | 34779 | LAMP,CFT13W/GX23/835,COMPACT FLUOR,2-PIN | 5 | 1.76 | 5 | 3
1000 | 34783 | LAMP,F40/SPEC41/RS/EWALTO,FLUOR,2-PIN | 5 |  |  | 2.57
1000 | 10010328 | LAMP,100W,HPS,MOGUL BASE | 75 | 9.2 | 9.09 | 11.78
1000 | 10010340 | LAMP,150W,HPS,MOGUL BASE | 117 | 9.45 | 8.78 | 11.78
1000 | 10010341 | LAMP,200W,HPS,MOGUL BASE | 120 | 10.85 | 10.27 | 11.78
1000 | 10010342 | LAMP,250W,HPS,MOGUL BASE | 5 | 9.7 | 10.63 | 11.78
1000 | 10010343 | LAMP,400W,HPS,MOGUL BASE | 1857 | 9.7 | 8.4 | 11.78
1000 | 51066 | LAMP,F28T5/835/ALTO,COMPACT FLUORESCENT | 1560 | 2.86 | 3.55 | 5.07
1000 | 58854 | BALLAST,1OR2 LAMPS,4FT,T-5,HO,FLUOR | 5 | 24.7 |  | sub
1000 | 10010360 | BALLAST,2-32W LAMP,T-8,FLUORESCENT | 69 | 11.7 | 8.84 | sub
1000 | 10010362 | BALLAST,4-32W LAMP,T-8,FLUORESCENT | 42 | 13.9 | 11.5 | sub
1000 | 58853 | BALLAST,1OR2 LAMPS,2FT,T-5,HO,FLUOR | 5 | 28 |  | sub
1000 | 58780 | LAMP,4FT T-5,F54/841/HO/ENV,FLUOR,2-PIN | 5 | 4 |  | sub
1000 | 58781 | LAMP,2FT T-5,FP24/841/HO/ECO,FLUOR,2-PIN | 5 | 6.5 |  | sub
1000 | 60922 | LAMP,100W,METAL HALIDE,MED BASE,CLEAR | 5 | 12.05 | 15 | sub
1000 | 10010346 | LAMP,2FT T-5,FP14/835/ECO,2-PIN | 240 | 4.88 | 4.54 | sub
1000 | 66116 | BALLAST,F32T8,4 LAMP | 18 | 14.95 |  | sub
1000 | 66117 | BALLAST,F28T5,2 LAMP | 96 | 29.9 |  | sub
1000 | 66118 | BALLAST,F32T8,3 LAMP | 12 | 13.95 |  | sub
1000 | 66119 | BALLAST,F28T5,2 LAMP | 60 | 59 |  | sub
1000 | 72307 | LAMP,LED,10W,MED BASE, FOR WET LOCATIONS | 156 | 5.9 | 2.67 | 6.6
1000 | 49838 | LAMP,32W or 28W,4 PIN,CFL | 5 | 4.5 |  | 5.9
1000 | 72618 | LAMP,21W,4 PIN,CFL | 5 | 4.5
Schedule B
6300 | 68000 | GLOBE,ACRYLIC,MD ACORN,FP197-8PCC | 99 | 170 | 149 | 246.36
6300 | 74220 | LAMP,15.5W,LED,MED BASE,2700K | 36 |  | 6.69 | sub
6300 | 74741 | LAMP,150W EQ,LED,4000K,FROSTED | 408 | 63.5
6300 | 74742 | LAMP,150W EQ,LED,MED BASE,4000K,FROSTED | 24 | 63.5
6300 | 74333 | LAMP,100W EQ,LED,3000K,FROSTED | 744 | 56.47
6300 | 72531 | LAMP,100W EQ,LED,4000K | 480
6300 | 72012 | LAMP,70W,CATENARY,PAC AVE | 20 | 32.9
6300 | 54225 | LED,TRANSIT,WHITE BAR,M41352 | 16
6300 | 54224 | LED,TRANSIT,YELLOW BAR,M41353 | 21
Schedule C
6300 | 57500 | GLOBE,ACRYLIC,ACORN,FP109-8PCC |  | 165 | 165.99 | 225.21
6300 | 50827 | GLOBE,ACRYLIC,TALL ACORN,FP299-8PCC |  | 228 | 227.99 | 339.74
6300 | 50591 | LAMP,LED,3M,RED | 11 | 0 | 78.92 | 0
6300 | 50593 | LAMP,LED,3M,GREEN |  | 0 | 83.24 | 0
6300 | 50592 | LAMP,LED,3M,YELLOW |  | 0 | 117.84 | 0

## 2030-ELECTRICAL HARDWARE (hidden)
Plant | MID | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 48048 | ANCHOR,KEY,276 SQ IN,EXPANDING,FOR POLES | 15 | EA | 874.2 | M-0002030 | x |  |  | Not on contract
1000 | 18949 | ARM,1-1/4IN DIA X 2-1/2FT MAST ARM,AL | 760 | EA | 17840.94 | M-0002030 | x |  |  | Not on contract
1000 | 34485 | ARRESTER,SURGE,10KV,W/BRACKET | 785 | EA | 31663.99 | M-0002030 | x |  |  | Not on contract
1000 | 18955 | ARRESTER,SURGE,10KV,W/O BRACKET | 55 | EA | 1917.62 | M-0002030 | x |  |  | Not on contract
1000 | 52502 | BOX,LOCK ACCESS | 18 | EA | 676.39 | M-0002030 | x |  |  | Not on contract
1000 | 66474 | BOX,SSB,TRAFFIC,15K LB LOADING,LARGE | 19 | EA | 3894.38 | M-0002030 | x |  |  | Not on contract
1000 | 66473 | BOX,SSB,TRAFFIC,15K LB LOADING,SMALL | 21 | EA | 2500.15 | M-0002030 | x |  |  | Not on contract
1000 | 21078 | BRACKET,1.10IN -1.50IN,TERMINATION MNT | 27 | EA | 411.91 | M-0002030 | x |  |  | Not on contract
1000 | 19139 | BRACKET,400W H-2,LUMINAIRE | 65 | EA | 5997.02 | M-0002030 | x |  |  | Not on contract
1000 | 34562 | BRACKET,5/8IN PIN 3-1/4IN SPOOL,CLEVIS | 2015 | EA | 11631.48 | M-0002030 | x |  |  | Not on contract
1000 | 34566 | BRACKET,CUTOUT EXTENSION,POLEMOUNT | 923 | EA | 11576.79 | M-0002030 | x |  |  | Not on contract
1000 | 34567 | BRACKET,EXTENSION,SECONDARY,POLE MOUNT | 4250 | EA | 45905.46 | M-0002030 | x |  |  | Not on contract
1000 | 19142 | BRACKET,POLE TOP,115KV,VERT. INS,8 HOLE | 150 | EA | 22908.05 | M-0002030 | x |  |  | Not on contract
1000 | 21590 | BRACKET,TAP,AL | 350 | EA | 369.51 | M-0002030 | x |  |  | Not on contract
1000 | 73551 | BUSHING SLEEVE,350 MCM,DUCT PLUG | 24 | EA | 170.98 | M-0002000 | x |  |  | Not on contract
1000 | 34581 | BUSHING,1/2IN,CONDUIT,PLASTIC | 25 | EA | 1.64 | M-0002000 | x |  |  | Not on contract
1000 | 34583 | BUSHING,1IN,CONDUIT,PLASTIC | 25 | EA | 3.01 | M-0002000 | x |  |  | Not on contract
1000 | 34590 | BUSHING,200AMP 15KV,FEED-THRU,HORZ | 78 | EA | 6527.46 | M-0002030 | x |  |  | Not on contract
1000 | 19167 | BUSHING,2IN,CONDUIT,PLASTIC | 40 | EA | 32.79 | M-0002000 | x |  |  | Not on contract
1000 | 34586 | BUSHING,INSERT,15KV,3 PHASE,200AMP | 110 | EA | 2671.8 | M-0002030 | x |  |  | Not on contract
1000 | 19181 | BUSHING,PARKING,NON-GROUNDED,INS | 150 | EA | 4917.64 | M-0002030 | x |  |  | Not on contract
1000 | 19202 | CAP,1.02IN - 1.94IN,END,COND,COLD SHRINK | 560 | EA | 3844.11 | M-0002030 | x |  |  | Not on contract
1000 | 52980 | CAP,19IN DIA,POLE,MASTIC | 2400 | EA | 46814.22 | M-0002030 | x |  |  | Not on contract
1000 | 21629 | CAP,1IN,ROLL DUCT | 1500 | EA | 1617.05 | M-0002030 | x |  |  | Not on contract
1000 | 21631 | CAP,2IN,ROLL DUCT | 1500 | EA | 1870.93 | M-0002030 | x |  |  | Not on contract
1000 | 22153 | CAP,600 AMP,BUSHING,URD,DEADEND | 24 | EA | 1691.04 | M-0002030 | x |  |  | Not on contract
1000 | 34596 | CAP,SMALL,END,HEAT SHRINK TUBING | 310 | EA | 868.35 | M-0002030 | x |  |  | Not on contract
1000 | 19205 | GUARD,15KV BUSHING,WILDLIFE PROTECTION | 250 | EA | 811.64 | M-0002030 | x |  |  | Not on contract
1000 | 19968 | GUARD,8FT,GUY,YELLOW PVC | 1850 | EA | 8995.84 | M-0002030 | x |  |  | Not on contract
1000 | 52146 | HOOK,14IN,CABLE SUPPORT,GALVANIZED | 100 | EA | 352.32 | M-0002030 | x |  |  | Not on contract
1000 | 52147 | HOOK,18IN,CABLE SUPPORT,GALVANIZED | 70 | EA | 539.49 | M-0002030 | x |  |  | Not on contract
1000 | 20010 | HOOK,5-1/2IN,ANCHOR,750 LB MAX CAP | 44 | EA | 895.61 | M-0002000 | x |  |  | Not on contract
1000 | 46759 | HOOK,6.5IN,ANCHOR,SWIVEL,750 LBS | 41 | EA | 974.44 | M-0002000 | x |  |  | Not on contract
1000 | 18960 | BAG,8-1/2IN X 9IN X 4IN,BOLT & NUT | 39 | EA | 958.18 | M-0002030 | x |  |  | Not on contract
1000 | 19216 | CAPACITOR,300 KVAR,SINGLE PHASE,13.8KV | 15 | EA | 13883.22 | M-0002030 | x |  |  | Not on contract
1000 | 19222 | CARTRIDGE,YELLOW,POWER BOOSTER | 2110 | EA | 2676.84 | M-0002030 | x |  |  | Not on contract
1000 | 34624 | CLEVIS,30,000 LB,SOCKET WYE | 200 | EA | 3904.28 | M-0002030 | x |  |  | Not on contract
1000 | 35182 | CLIP,CABLE,U-TYPE,RG-6 | 29000 | EA | 1155.94 | M-0002030 | x |  |  | Not on contract
1000 | 19382 | CORD,25FT 3/12,EXTENSION,YELLOW,W/CGM | 72 | EA | 2656.27 | M-0002030 | x |  |  | Not on contract
1000 | 75462 | CORONA BELL,1-1/4IN PIPE,CU,DRIVE FIT | 32 | EA | 558.43 | M-0002030 | x |  |  | Not on contract
1000 | 63804 | CORONA BELL,2-1/2IN PIPE,AL,DRIVE FIT | 90 | EA | 1368.6 | M-0002030 | x |  |  | Not on contract
1000 | 20004 | CUTOUT,200A SMD-20 FUSEHOLDER,15KV | 30 | EA | 13583.6 | M-0002030 | x |  |  | Not on contract
1000 | 19544 | DISPENSER,GUY WIRE | 400 | EA | 2702.17 | M-0002030 | x |  |  | Not on contract
1000 | 21686 | ELL,4IN,45,24IN RADIUS,GRN,PVC | 45 | EA | 455.78 | M-0002030 | x |  |  | Not on contract
1000 | 21687 | ELL,4IN,90,36IN RADIUS,GRN,PVC | 50 | EA | 738.04 | M-0002030 | x |  |  | Not on contract
1000 | 19676 | EXTENSION,1-1/2IN SQ 5FT,ANCHOR,SWAMP | 130 | EA | 6847.17 | M-0002030 | x |  |  | Not on contract
1000 | 19682 | FERRULE,#2 CU 5/8IN,CABLE GRDG,COMP | 75 | EA | 1139.78 | M-0002030 | x |  |  | Not on contract
1000 | 64400 | FERRULE,1/0 CU,LOADBREAK ELBOW,TIN PLATE | 25 | EA | 397.3 | M-0002030 | x |  |  | Not on contract
1000 | 19683 | FERRULE,2/0 CU 5/8IN,CABLE GRDG,COMP | 75 | EA | 1112.79 | M-0002030 | x |  |  | Not on contract
1000 | 34698 | FERRULE,4/0 CU 5/8IN,CABLE GRDG,COMP | 25 | EA | 460.59 | M-0002030 | x |  |  | Not on contract
1000 | 53056 | FITTING,GUY,SIDEWALK,POLE PLATE | 40 | EA | 625.51 | M-0002030 | x |  |  | Not on contract
1000 | 19753 | FITTING,GUY,SIDEWALK,TRIPLE CLAMP | 40 | EA | 1663.9 | M-0002030 | x |  |  | Not on contract
1000 | 53126 | JUMPER,12 POLE,TERMINAL BLOCK | 68 | EA | 2037.81 | M-0002030 | x |  |  | Not on contract
1000 | 20056 | KIT,SEALING,COLD SHRINK FOR URD CABLE | 4410 | EA | 42731.57 | M-0002030 | x |  |  | Not on contract
1000 | 37359 | LINK,9/16",STRAIN,FIGURE 8,GALV | 75 | EA | 425.4 | M-0002030 | x |  |  | Not on contract
1000 | 20227 | LOCK,BARREL,W/FERRULE AND WEATHER CAP | 150 | EA | 1018.9 | M-0002030 | x |  |  | Not on contract
1000 | 58111 | LOCK,METER BOX,SIDE MOUNT | 240 | EA | 4217.62 | M-0002030 | x |  |  | Not on contract
1000 | 42873 | METER,LOCKING,PIN & CAP,SS,REPLACEMENT | 1800 | EA | 8857.38 | M-0002030 | x |  |  | Not on contract
1000 | 34836 | MOLDING,1/2IN X 1/2IN X 8FT,GRD WIRE,PVC | 4800 | EA | 5864.85 | M-0002030 | x |  |  | Not on contract
1000 | 34874 | NUT,#14-16-18,WIRE,ORANGE | 100 | EA | 13.14 | M-0002030 | x |  |  | Not on contract
1000 | 70460 | NUT,#18-8,WIRE,TAN/RED,FLEXIBLE SKIRT | 1000 | EA | 158.18 | M-0002030 | x |  |  | Not on contract
1000 | 46181 | PLATE,3IN X 3IN,W/4 HOLES,ALUM/CPR | 54 | EA | 311.12 | M-0002030 | x |  |  | Not on contract
1000 | 21751 | POLE GAIN,CENTER HOLE 2IN X 13/16IN | 1450 | EA | 5760.29 | M-0002030 | x |  |  | Not on contract
1000 | 52144 | RACK,55-1/4IN,CABLE SUPPORT,GALVANIZED | 110 | EA | 1949.15 | M-0002030 | x |  |  | Not on contract
1000 | 73406 | RACK,UNIVERSAL,23" WIDE | 11 | EA | 4818.37 | M-0002030 | x |  |  | Not on contract
1000 | 20515 | RECEPTACLE,8 OUTLET,W/REMOTE MULTISWITCH | 24 | EA | 1932.06 | M-0002030 | x |  |  | Not on contract
1000 | 20559 | RING,METER,SEALING,SS SCREW TYPE | 11500 | EA | 39890.42 | M-0002030 | x |  |  | Not on contract
1000 | 58110 | SEAL,METER,WIRE TYPE,YELLOW W/IMPRINT | 5000 | EA | 1674.74 | M-0002030 | x |  |  | Not on contract
1000 | 44448 | STAPLES,MOLDING,HOT DIPPED GALV | 46700 | EA | 7232.68 | M-0002030 | x |  |  | Not on contract
1000 | 43410 | TAG,4IN X 1.75IN,VINYL,YELLOW,BLANK | 2200 | EA | 1278.54 | M-0002030 | x |  |  | Not on contract
1000 | 35033 | TAP,JUNCTION,LOAD BREAK,3-POSITION | 14 | EA | 2412.29 | M-0002030 | x |  |  | Not on contract
1000 | 21043 | TAPE,3000FT,CABLE PULLING,WOVEN POLY | 182 | RO | 19297.68 | M-0002030 | x |  |  | Not on contract
1000 | 21960 | TIE,8-1/2IN,CABLE,W/#10 SCREW HOLE | 2500 | EA | 139.14 | M-0002030 | x |  |  | Not on contract
1000 | 74580 | MOUNT,3/4IN X 3/4IN,CABLE TIE,ADHESIVE | 500 | EA | 54.64 | M-0002000 | x |  |  | Not on contract
1000 | 20260 | MOUNT,5/8IN X 7/16IN,CABLE TIE,SCREW MNT | 300 | EA | 71.02 | M-0002080 | x |  |  | Not on contract
1000 | 19140 | BRACKET,TERMINAL BLOCK STANDOFF,SHORT | 760 | EA | 29395.22 | M-0002000 | x |  |  | Not on contract
1000 | 34626 | CLIP,21A,BATTERY TERMINAL | 20 | EA | 65.7 | M-0002000 | x |  |  | Not on contract
1000 | 20572 | ROD,1-1/4IN X 12FT,ANCHOR,TRI-THIMBLE | 60 | EA | 13281.54 | M-0002000 | x |  |  | Not on contract
1000 | 34909 | ROD,3/4IN X 9FT,ANCHOR,DBL THIMBLE,GALV | 27 | EA | 766.82 | M-0002000 | x |  |  | Not on contract
1000 | 34926 | SHACKLE,5/8IN,30000 LB,ANCHOR,GALV | 150 | EA | 856.81 | M-0002000 | x |  |  | Not on contract
1000 | 21996 | WRENCH,COMB,TRAPS & SLEEVES,BLUE | 13 | EA | 302.97 | M-0002000 | x |  |  | Not on contract

## 600-CHEMICALS (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
2000 | 38305 | CALCIUM HYPOCHLORITE, 3" TABLETS,65% | 260 | PL | 29727.87 | M-0000600
2000 | 56649 | CAPTOR,LIQUID CALCIUM THIOSULFATE | 130 | EA | 9431.37 | M-0000600
2000 | 38463 | SODIUM CHLORIDE(SALT),BULK,99.6% pure ** | 48 | SK | 19439.59 | M-0000600
2000 | 30923 | SODIUM HYPOCHLORITE, LIQUID,12 PERCENT | 1680 | GAL | 8003.99 | M-0000600
2000 | 38303 | SODIUM HYPOCHLORITE, LIQUID,12%,DRUM** | 28 | DR | 3208.41 | M-0000600
2000 | 56300 | ZEP BIG ORANGE(AEROSOL) | 312 | EA | 4983.21 | M-0000600

## 600-ADHESIVES (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 34476 | ADHESIVE,4 GRAMS,EPOXY CEMENT | 500 | EA | 1286.55 | M-0000600 | x |  |  | Not on contract
1000 | 34922 | ADHESIVE,SILICONE RBR | 528 | EA | 1867.74 | M-0000600 | x |  |  | Not on contract
1000 | 19227 | CEMENT,5OZ TUBE,WEATHERSTRIP | 16 | EA | 135.73 | M-0000600 | x |  |  | Not on contract
1000 | 19225 | CEMENT,PT,PVC,FAST DRYING BLUE | 60 | CAN | 663.43 | M-0000600 | x |  |  | Not on contract
1000 | 10019 | CEMENT,QT,PVC PIPE | 816 | CAN | 11804.38 | M-0000600 | x |  |  | Not on contract
1000 | 38277 | COMPOUND,1LB Cartridge,SEALING ALUM-CPR | 36 | EA | 777.02 | M-0000600 | x |  |  | Not on contract
1000 | 34631 | COMPOUND,5.3OZ,SILICON DIELECTRIC | 348 | EA | 2596.33 | M-0000600 | x |  |  | Not on contract
1000 | 34630 | COMPOUND,ANTI-CORROSION | 12 | EA | 196.31 | M-0000600 | x |  |  | Not on contract
1000 | 34635 | COMPOUND,SEALING,PENETROX | 96 | EA | 1759.01 | M-0000600 | x |  |  | Not on contract
1000 | 19325 | COMPOUND,SEALING,PLASTIC BASE | 27 | EA | 112.45 | M-0000600 | x |  |  | Not on contract
1000 | 10062 | SEALANT,MAXIMUM EXPANDING FOAM,CLASS 1 | 888 | CAN | 5441.76 | M-0002030 | x |  |  | Not on contract
2000 | 33883 | COMPOUND,AEROSOL,COLD GALV | 144 | CAN | 1000.09 | M-0001200
2000 | 10006 | COMPOUND,JET PLUG,FOR CONC PATCHING | 144 | EA | 2252.96 | M-0000600
2000 | 35535 | LOCTITE,250CC,PIPE SEALANT,W/TEFLON | 105 | EA | 4538.62 | M-0000600

## 4300-LUBRICANTS (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 65255 | FILTER,OIL,CARTRIDGE,LG,PROCESSOR | 20 | EA | 2912.15 | M-0004300 | x |  |  | Not on contract
1000 | 19767 | FLUID,16OZ,CUTTING | 16 | EA | 208.12 | M-0000600 | x |  |  | Not on contract
1000 | 52358 | LUBRICANT,1/2 GAL,CABLE PULLING,BAG | 12 | EA | 73.78 | M-0004300 | x |  |  | Not on contract
1000 | 41855 | LUBRICANT,20 GRAM,ANTI-SIEZE,STICK | 60 | EA | 327.13 | M-0004300 | x |  |  | Not on contract
1000 | 34633 | LUBRICANT,CABLE PULLING | 240 | GAL | 3456.72 | M-0004300 | x |  |  | Not on contract
1000 | 34632 | LUBRICANT,CABLE,HVY DTY,WATER BASED | 20 | GAL | 263.36 | M-0004300 | x |  |  | Not on contract
1000 | 34830 | LUBRICANT,CONDUCTIVE | 26 | EA | 1258.99 | M-0004300 | x |  |  | Not on contract
1000 | 34827 | LUBRICANT,REGULAR GRADE,ANTI-SEIZE | 16 | EA | 131.56 | M-0004300 | x |  |  | Not on contract
1000 | 58661 | LUBRICANT,SOLID STICK,METALWORKING | 16 | EA | 97.42 | M-0004300 | x |  |  | Not on contract
1000 | 20352 | OIL,1 GAL,MINERAL BASED,BAR & CHAIN | 140 | GAL | 2687.54 | M-0004300 | x |  |  | Not on contract
1000 | 20353 | OIL,1GAL,2-CYCLE,SYNTHETIC,50:1 | 528 | CAN | 1175.81 | M-0004300 | x |  |  | Not on contract
1000 | 10100 | OIL,2-1/2GAL,2-CYCLE,SYNTHETIC,50:1 | 528 | CAN | 2096.77 | M-0004300 | x |  |  | Not on contract
1000 | 19379 | OIL,RUST CUTTER,SPRAY CAN,5OZ | 72 | EA | 359.03 | M-0004300 | x |  |  | Not on contract
1000 | 35107 | STARTING FLUID,11OZ,GAS/DIE ENGINES | 36 | CAN | 155.14 | M-0000600 | x |  |  | Not on contract
2000 | 10020 | OIL,4OZ CAN,PENETRATING | 36 | CAN | 149.4 | M-0004300
2000 | 10022 | OIL,LUBRICATING | 648 | CAN | 5724.47 | M-0004300
2000 | 31341 | OIL,MINERAL,WHITE,LIGHT,FOOD | 17 | GAL | 736.41 | M-0004300

## 4800-PAINTS (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 38957 | LACQUER,SEMI-GLOSS,CLEAR | 11 | GAL | 269.93 | M-0004800 | x |  |  | Not on contract
1000 | 19384 | PAINT,MARKING,FLUORESCENT GREEN | 24 | CAN | 99.25 | M-0004800 | x |  |  | Not on contract
1000 | 19385 | PAINT,MARKING,INVERTED SPRAY,RED | 3612 | EA | 16294.72 | M-0004800 | x |  |  | Not on contract
1000 | 19388 | PAINT,SPRAY ENAMEL,PADMOUNT GREEN | 86 | CAN | 542.46 | M-0000600 | x |  |  | Not on contract
1000 | 19388 | PAINT,SPRAY ENAMEL,PADMOUNT GREEN | 86 | CAN | 542.46 | M-0000600 | x |  |  | Not on contract
2000 | 65815 | PAINT,HYDRANT,PRIMER,PHENOLIC ALKYD RESI | 12 | GAL | 553.48 | M-0004800
2000 | 31364 | PAINT,MARKING,BLACK,INVERTED SPRAY | 96 | CAN | 523.62 | M-0004800
2000 | 33873 | PAINT,SPRAY ENAMEL,DOVE GRAY | 157 | CAN | 760.3 | M-0000600
2000 | 35549 | PAINT,SPRAY ENAMEL,GOLD | 12 | CAN | 344.44 | M-0000600
2000 | 33881 | PAINT,SPRAY,PRIMER,GRAY | 348 | CAN | 1661.38 | M-0004800

## 1200-LUMBER (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 20239 | PLYWOOD,1/2IN,EXTERIOR GRADE,AB | 24 | SH | 1248.83 | M-0001200 | x |  |  | Not on contract
1000 | 20241 | PLYWOOD,3/4IN,EXTERIOR GRADE,CD | 132 | SH | 3399.59 | M-0001200 | x |  |  | Not on contract
1000 | 20238 | PLYWOOD,3/8IN,GRADE CDX | 20 | SH | 414.67 | M-0001200 | x |  |  | Not on contract
2000 | 31655 | STAKE,2IN X 2IN X 12IN L,WOOD,SURV | 60 | BUN | 468.87 | M-0001200
2000 | 31656 | STAKE,2IN X 2IN X 16IN L,WOOD,SURV | 200 | BUN | 1849.68 | M-0001200
2000 | 31653 | STAKE,3/4IN X 1-1/2IN X 16IN L,WOOD,SURV | 75 | BUN | 658.54 | M-0001200
2000 | 31891 | WEDGE,WOOD,2IN X 4IN X 12IN LG | 10000 | EA | 3205.88 | M-0003700
2000 | 31285 | LUMBER,2IN X 12IN,FIR,8FT MIN LENGTHS | 2900 | BF | 2940.04 | M-0004400
2000 | 31281 | LUMBER,2IN X 4IN,FIR,8FT MIN LENGTHS | 200 | BF | 122.64 | M-0004400
2000 | 31280 | LUMBER,4IN X 4IN,FIR,8FT MIN LENGTHS | 500 | BF | 492.75 | M-0004400
2000 | 31261 | LATH,3/8IN X 1-1/2IN X 48IN,WOOD,1 END P | 120 | BUN | 2665.47 | M-0001200

## 4300-METAL (hidden)
Plant | Material | Material Description | Quantity for 3 Yrs | Base Unit of Measure | Amount in LC | Material Group | Contract # | Expiration Date | Current Hers On Contract (If Applicable) | Notes
1000 | 43057 | ALUMINUM, 3IN X 24IN X .019 WHITE | 200 | EA | 1056.98 | M-0004500 | x |  |  | Not on contract
1000 | 18904 | ALUMINUM,2IN X 2IN X 1/4IN,ANGLE | 25 | FT | 82.13 | M-0004500 | x |  |  | Not on contract
1000 | 18914 | ALUMINUM,4FT X 12FT X 1/4IN,SHEET | 178 | LB | 1193.12 | M-0004500 | x |  |  | Not on contract
1000 | 18913 | ALUMINUM,4FT X 12FT X 1/8IN,SHEET | 170 | LB | 1056.98 | M-0004500 | x |  |  | Not on contract
1000 | 18912 | ALUMINUM,4FT X 12FT X 14 GAUGE,SHEET | 108 | LB | 673.15 | M-0004500 | x |  |  | Not on contract
1000 | 18978 | BAR,1/4IN X 1-1/2IN X 12FT,BUS,CU,FLAT | 96 | FT | 2981.79 | M-0004500 | x |  |  | Not on contract
1000 | 39085 | BAR,1/4IN X 4IN X8-1/4IN,BUS,CPR,W/HOLES | 134 | EA | 8784.97 | M-0004500 | x |  |  | Not on contract
1000 | 20571 | ROD,1/2IN,THREADED,ZINC PLATED | 90 | FT | 530.87 | M-0004500 | x |  |  | Not on contract
1000 | 20570 | ROD,3/8IN,THDED,ZINC PLATE | 700 | FT | 1259.96 | M-0004500 | x |  |  | Not on contract
1000 | 20903 | STEEL,18GAUGE,4FT X 10FT,SHEET,GALV | 258.4 | LB | 487.93 | M-0004500 | x |  |  | Not on contract
1000 | 20904 | STEEL,20GAUGE,4FT X 8FT,SHEET,GALV | 106 | LB | 293.12 | M-0004500 | x |  |  | Not on contract
1000 | 20905 | STEEL,22GAUGE,4FT X 8FT,SHEET,GALV | 45 | LB | 307.18 | M-0004500 | x |  |  | Not on contract
1000 | 20906 | STEEL,26GAUGE,4FT X 8FT,SHEET,GALV | 87 | LB | 706.14 | M-0004500 | x |  |  | Not on contract
2000 | 31676 | STEEL,1/2IN X 3-1/2IN,FLAT,MILD | 20 | FT | 121.66 | M-0004500
2000 | 10113 | STEEL,1/8IN X 2IN,FLAT,MILD | 40 | FT | 70.96 | M-0004500
2000 | 31660 | STEEL,3/4IN,CONTINOUS THREAD | 150 | FT | 369.9 | M-0004500
2000 | 10107 | STEEL,3/4IN,ROUND,MILD | 2000 | FT | 1780.2 | M-0004500
2000 | 31662 | STEEL,7/16IN,ROUND,MILD | 20 | FT | 38.36 | M-0004500