|  |  |  |  |
| --- | --- | --- | --- |
| Surface Type: Other Hard SurfacesBMP L611: Concentrated Flow DispersionCity of Tacoma Permit Number: Click here to enter text.Date Prepared: Click here to enter a date. | | | |
|  | | | |
|  | ***Yes*** | ***No*** | ***NA*** |
| Can the dispersion BMP be placed 10 feet or more from any building structure? |  |  |  |
| Can the dispersion BMP be placed 5 feet or more from any other structure or property line? |  |  |  |
| Can the dispersion BMP be placed 50 feet or more from the top of a steep slope (15% or greater)? |  |  |  |
| Can the dispersion BMP be placed 10 feet or more from septic tanks and septic drainfields? |  |  |  |
| For dispersion trenches, is there a 25 foot or greater vegetated flowpath between the discharge point from the dispersion BMP and any property line, structure, steep slope, stream, lake, wetland, or other hard surface for concentrating flows onto a rock pad? |  |  |  |
| For rock pads, is there a 50 foot or greater vegetated flowpath between the discharge point from the dispersion BMP and any property line, structure, steep slope, stream, lake, wetland, or other hard surface for concentrating flows onto a rock pad? |  |  |  |
| Will installing concentrated flow dispersion cause conflicts with any of the following? (An answer of yes means this BMP is not feasible). |  |  |  |
| ***Please check the box next to those items that apply.* Answer requires a report prepared by professional.** | | | |
| Requirements of the Historic Preservation Laws and Archeology Laws, Federal Superfund or Washington State Model Toxics Control Act, Federal Aviation Administration requirements for airports, or Americans with Disability Act | | |  |
| Special zoning district design criteria adopted and being implemented through any City of Tacoma planning efforts | | |  |
| Public health and safety standards | | |  |
| Transportation regulations to maintain the option for future expansion or multi-modal use of public rights-of-way | | |  |
| Critical Area Preservation Ordinance | | |  |