| DRY – AUTOMATIC SPRINKLERS (One System per Report) | CTF 8001 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Frequency | 5 Year: | Annual: | Semi-Annual: | Quarterly: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Pre Action System: | Deluge System: |
| Location of Riser: | Max Height | # of Heads | System # | TFD System # |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET Number: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 25 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| TECH NAME: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 25 Standard Inspection, Testing and Maintenance of Water Based Fire Systems requirements.

| SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Was a full walk through performed? |  |  |
| Is building fully sprinkled? |  |  |
| Is there a calculation plate? |  |  |
| What is the design density? (Gallons per sq ft.) |
| If not hydraulically designed indicate pipe schedule: | Light: | Ordinary: | Extra: |
| Main drain flow test conducted? |  |  |
| Static pressure psi | Residual pressure psi | Test pipe size? |
| Trip test conducted? | Partial: | Full: |  |  |
| Date of last full trip test: |
| System tripped in seconds. |
| Did quick opening device operate satisfactorily? | Time: |  |  |
| Air compressor refills system in 30 minutes or less? |  |  |
| Dry piping checked for pitch? |  |  |
| Heat actuation devices tested on pre-action and deluge system? | N/A |  |  |
| Flow switches, supervisory switches and alarm bells test satisfactory? | N/A |  |  |
| Water motor gong operates properly? | N/A |  |  |
| System is free of recalled heads and devices? |  |  |
| Sprinkler heads free of corrosion, paint, obstructions and/or physical damage? |  |  |
| Proper number of spare sprinkler heads? |  |  |
| Sprinkler wrench available for each type of sprinkler? |  |  |
| Minimum of 18” clearance between top of storage and sprinkler deflector? |  |  |
| Pressure regulating valves tested satisfactorily? | N/A |  |  |
| Valves are locked or supervised? |  |  |
| Signs are provided on control valves? |  |  |
| Sprinkler heads are less than: |
| 1. 50 years for Standard Response |  |  |
| 2. 20 years for Fast Response | N/A |  |  |
| 3. 10 years for Dry Type | N/A |  |  |
| 4. 5 years for solder type with extra high temperature rating | N/A |  |  |
| 5. A sample has been successfully tested within the last 10 years |  |  |
| System drained, inspection tag posted on system main value and restored to normal operation? |  |  |
| System gauges replaced or calibrated every 5 years? Date: |  |  |
| Fire department connection in satisfactory condition, couplings free, caps in place, check valves tight? |  |  |
| Was the Fire Department Connection (FDC) internal inspection completed? (req every 5 years) Date: |  |  |
| Was debris found in the Fire Department Connection (FDC) |  |  |
| When was an internal pipe inspection performed? (req every 5 years) Date: | CPVC N/A |  |  |
| Testing agency has informed owner of legal obligation to perform inspections, testing and maintenance in accordance with NFPA 25. |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

tfdcto@cityoftacoma.org