| WET – AUTOMATIC SPRINKLERS (One System per Report) | CTF 8002 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Frequency | 5 Year: | Annual: | Semi-Annual: | Quarterly: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Location of Riser: | Max Height | # of Heads | System # | TFD System # |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET Number: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page is necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 25 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |

| Tech Name: (Print) | (Sign) | Date: |
| --- | --- | --- |

| Building Representative: (Print) | (Sign) | Date: |
| --- | --- | --- |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 25 Standard Inspection, Testing and Maintenance of Water Based Fire Protection Systems requirements.

| SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Was a full walk through performed? |  |  |
| Is building fully sprinkled? |  |  |
| Is there a calculation plate? |  |  |
| What is the design density? (gallons per sq ft.) |
| Main drain flow test conducted? |  |  |
| Static pressure: psi | Residual Pressure: psi | Test pipe size? |
| Flow switches, supervisory switches and alarm bells tested satisfactorily | N/A |  |  |
| Water motor gong operates properly? | N/A |  |  |
| System is free of any recalled heads? |  |  |
| Pressure regulating valves tested satisfactorily? | N/A |  |  |
| Valves are locked or supervised? |  |  |
| Signs are provided on control valves? |  |  |
| Sprinkler heads are less than: |
| 1. 50 years for Standard Response |  |  |
| 2. 20 years for Fast Response | N/A |  |  |
| 3. 10 years for Dry Type | N/A |  |  |
| 4. 5 years for solder type with extra high temperature rating | N/A |  |  |
| 5. A sample has been successfully tested within the last 10 years |  |  |
| Sprinkler heads free of corrosion, paint, obstructions and/or physical damage? |  |  |
| Proper number of spare sprinkler heads available? |  |  |
| Sprinkler wrench available for each type of sprinkler? |  |  |
| Minimum of 18” clearance between top of storage and sprinkler deflector? |  |  |
| Did antifreeze systems test satisfactorily? | N/A |  |  |
| Is building adequately heated? |  |  |
| System left in service with an inspection tag posted main valve? |  |  |
| System gauges replaced or calibrated every 5 years? Date: |  |  |
| Fire Department Connection in satisfactory condition, couplings free, caps in place, check valves tight? |  |  |
| Was the Fire Department Connection (FDC) internal inspection completed? (req every 5 years) Date: |  |  |
| Was debris found in the Fire Department Connection (FDC)? |  |  |
| When was an internal pipe inspection performed? (req every 5 years) Date: | CPVC N/A |  |  |
| Testing agency has informed owner of legal obligation to perform inspections, testing and maintenance in accordance with NFPA 25. |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

tfdcto@cityoftacoma.org