| EMERGENCY GENERATOR (One System per Report) | CTF 8004 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Frequency: | Annual: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Make: | Model Number: |
| Size: | Tank Size: |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER : |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 110 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| TECH NAME: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 110 standards for inspecting and testing requirements.

| SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Starts on power failure? (Trip main disconnect for the emergency panel) |  |  |
| Volts | Amps | Hertz (Full Load) |
| Is generator run light on? |  |  |
| Adequate fuel supply for 2 hours under full load (minimum)? |  |  |
| Do transfer switches operate correctly? |  |  |
| Is any non-emergency equipment connected to the generator? |  |  |
| Does all required fire and safety equipment operate on generator? |  |  |
| Does connected load exceed generator capacity? |  |  |
| Has the generator been exercised once a month? |  |  |
| Are maintenance records up to date and posted? |  |  |
| Required copy of manufacture’s certification available? |  |  |
| Is generator anchored to ground? |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

tfdcto@cityoftacoma.org