| FIRE ALARM SYSTEM (One System per Report) | CTF 8005 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Frequency | Annual: | Semi-Annual: | Quarterly: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Location of System: |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary ) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 72 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| TECH NAME: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 72 Standard for inspecting and testing requirements.

| ALARM SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Trouble signal with AC power off? |  |  |
| System operates properly on battery backup? |  |  |
| Battery voltage (no load) | volts |
| Battery voltage (full load) (signals operating) | volts (signals operating) |
| Charge circuit voltage | volts |
| System operates properly on standby power? |  |  |
| All signals operate on AC power |  |  |
| Number of initiating circuits: |
| Number of signal circuits: |
| Does the system meet audibility standards? |  |  |
| All circuits checked for electrical supervision? |  |  |
| All auxiliary equipment operates (Elevators, fans, dampers)? | N/A |  |  |
| Ventilation controls operate? | N/A |  |  |
| Key to panel available? |  |  |
| Operating instructions at panel? |  |  |
| The elevator call down functions properly? | N/A |  |  |
| Test record posted at panel? |  |  |
| General alarm automatic time delay (minutes) | N/A |  |  |
| Other devices (specify) |  |  |
| Was a full walk through done? |  |  |

| System Devices | Total Number of Units in Building | Total Number Units Tested | Test Results Acceptable |
| --- | --- | --- | --- |
|  |  |  | N/A | YES | NO |
| Bells, Horns & Chimes |  |  |  |  |  |
| Voice Speakers (voice clarity) |  |  |  |  |  |
| Operations Test 1. Smoke Detector 2. Duct Detector |  |  |
| Sensitivity Test Smoke Detector Duct Detector |  |  |
| Heat Detectors |  |  |  |  |  |
| Sprinkler Flow Switches |  |  |  |  |  |
| Sprinkler Supervisory Switches |  |  |  |  |  |
| Visual Alarm Devices |  |  |  |  |  |
| Manual Pull Stations |  |  |  |  |  |
| Automatic Door Unlocks |  |  |  |  |  |
| Automatic Door Release |  |  |  |  |  |

| Communication Equipment | Total Number of Units in Building | Total Number Units Tested | Test Acceptable |
| --- | --- | --- | --- |
|  |  |  | N/A | YES | NO |
| Phone Sets |  |  |  |  |  |
| Phone Jacks |  |  |  |  |  |
| Call-in Signal |  |  |  |  |  |

STAIRWAY DOOR LOCKS

| SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Number of stories? |
| Do all locking devices release upon activation of the fire alarm system? |  |  |
| Do all locking devices release upon power failure? |  |  |
| Does the door to roof unlock? |  |  |
| Do doors unlock but not unlatch? |  |  |
| Is there an access key at the control panel for doors that fail to unlock? |  |  |

| System Devices | Total Number of Units in Building | Total Number Units Tested | Test Acceptable |
| --- | --- | --- | --- |
|  |  |  | N/A | YES | NO |
| Electric Strike |  |  |  |  |  |
| Electric Bolt |  |  |  |  |  |
| Other locking devices |  |  |  |  |  |

Building is not equipped with Stairway Door Lock system.

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409
tfdcto@cityoftacoma.org