| FIRE PUMP (One System per Report) | CTF 8007 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Frequency | Annual: | Quarterly: | Monthly: | Weekly: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Location of Fire Pump: |
| Make: | Model Number: | Power: Electric Diesel |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 25 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| TECH NAME (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 25 Standard Inspection, Testing and Maintenance of Water Based Fire Protection Systems requirements.

| Electric Pump |
| --- |
| Starting Amperage | Leg 1 | Leg 2 | Leg 3 |
| Running Amperage | Leg 1 | Leg 2 | Leg 3 |
| Was 10 minute battery start test conducted on each battery? | Yes | No |
| Was electric pump run for a minimum of 10 minutes? | Yes | No |

| Diesel Pump | YES | NO |
| --- | --- | --- |
| Diesel fuel tank at least 2/3rds full? |  |  |
| Batteries fully charged? |  |  |
| Oil level full? |  |  |
| Coolant level full? |  |  |
| Antifreeze protection adequate? |  |  |
| Fuel filter/strainer serviced? |  |  |
| Was diesel pump run for a minimum 30 minutes? |  |  |

| Pump Controller’s | YES | NO |
| --- | --- | --- |
| Fire pump controller in service? |  |  |
| Controller voltage VDC | Interrupting-Capacity amps: |  |  |
| Jockey pump controller in service? | N/A |  |  |

| Pump Test | YES | NO |
| --- | --- | --- |
| Pump in service on inspection? |  |  |
| Pump starts from pressure drop? |  |  |
| Cut in pressure: psi | Cut-out pressure: psi |
| Was 300 GPM flow conducted? |  |  |
| Static pressure: psi |
| Discharge: | psi | Suction: | psi |
| Hose size: | inches | Tip Size: | inches |
| Pitot reading |  | GPM: |  |
| Churn suction | psi | Churn discharge | psi |
| Jockey pump tested? |  |  |
| Shaft seals dripping water properly (1 drop per second)? |  |  |
| Pressure relief valve checked for proper operation? |  |  |
| Fire pump connected to fire alarm panel? |  |  |
| Suction screens inspected and cleared? | N/A |  |  |
| Is pump operating as designed? |  |  |
| Has pump been tested weekly? |  |  |
| Pressure gauges replaced or calibrated every 5 years? Date: |  |  |
| Are maintenance records up to date and posted? |  |  |

| Transfer Switch | YES | NO |
| --- | --- | --- |
| Power failure simulated during peak flow for automatic transfer switch activation? | N/A |  |  |
| Connection made to alternate source? | N/A |  |  |
| Emergency manual starting means operated without power? | N/A |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

# tfdcto@cityoftacoma.org