| Flammable Finishes Applications (One System per Report - Annual) | CTF 8008 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Type of System: | Wet Chem | Dry Chem | CO2 | Water | Other |
| Type of Application: | Spray | Powder Coating | Dipping | Electrostatic | Reinforced plastics |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER : |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with the following NFPA Standards: 13, 16, 17, and 2001. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| TECH NAME: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the appropriate NFPA Standard for inspecting and testing requirements.

| SYSTEM FUNCTIONALITY | YES | NO | N/A |
| --- | --- | --- | --- |
| 1. | Cylinders pressure gauge or weight is at acceptable level? |  |  |  |
| 2. | System is free of any damage or tampering? |  |  |  |
| 3. | All piping and conduit has proper hangers and brackets. |  |  |  |
| 4. | All nozzles/sprinklers in proper positions and free of corrosion, loading or obstruction to spray. |  |  |  |
| 5. | All nozzles are covered by blow off caps or other protective means. |  |  |  |
| 6. | Fusible links changed? |  |  |  |
| 7. | Date of last change: |
| 8. | System operated from most remote fusible link? |  |  |  |
| 9. | System operated properly from all manual actuators? |  |  |  |
| 10 | Manual actuators are unobstructed and in path of egress? |  |  |  |
| 11. | Date of last hydrostatic test of cylinder: |
| 12. | Is system connected to an alarm system? If yes, did alarm activate? |  |  |  |
| 13. | System is fully operational and free from obstructions? |  |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

# tfdcto@cityoftacoma.org