| PRIVATE HYDRANTS Annual Report (One System per Report) | CTF 8010 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Location of Hydrants: |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Print) (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 24 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| Tech Name: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to NFPA Standard 24 for inspecting and testing requirements.

| FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Locate the hydrant lateral gate valve and close six turns. Open the hydrant lateral gate valve until a stop is reached and than back it off ½ turn. (This will assure that this valve is fully open.) |
| Hydrant paint is chrome yellow? |  |  |
| Paint is in good condition? |  |  |
| Color of bonnets and Nozzle Caps? | 1000 GPM or greater Green | 500 to 1000 GPM Orange | Less than 500 GPM Red |
| Are any parts missing? |  |  |
| Is hydrant clear or vegetative growth? |  |  |
| Is hydrant accessible? |  |  |
| Does operating stem open easily? |  |  |
| Are ports and caps in good condition? |  |  |
| Open hydrant slowly. | How many turns to open? |
| When hydrant fully open is there excessive leakage at bonnet or barrel? |  |  |
| Is water coming up from the ground around the barrel? |  |  |
| Close hydrant slowly the same number of turns necessary top open, then back off just enough to take tension off the stem. Take off all caps and let water drain out. |
| Any leakage while draining after main valve closed? |  |  |
| Threads inspected and cleaned with wire brush? |  |  |
| Are all caps replaced? |  |  |
| Are hydrants protected from traffic with bollards? |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

# tfdcto@cityoftacoma.org