| SMOKE CONTROL SYSTEMS (One System per Report) Annual | CTF 8012 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Type of Smoke Control System | Tempered Windows | Smoke Removal |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 92-A Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| Tech Name: (Print) | (Sign) | Date: |
| Signature of Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 92-A Standard for inspecting and testing requirements.

| BREAKOUT GLASS | YES | NO |
| --- | --- | --- |
| 1. | 2 inch white dots located on lower 1/3 of window? |  |  |
| 2. | Breakout windows located at approximately 50 feet intervals around building perimeter? |  |  |
| 3. | Tempered windows are unobstructed? |  |  |
| 4. | Tempered windows on all floor levels above the first floor? |  |  |
| 5. | Building has operable windows? |  |  |

| SMOKE REMOVAL | YES | NO |
| --- | --- | --- |
| 1. | Building has smoke removal fans? |  |  |
| 2. | Smoke removal system operates on fire alarm activation? |  |  |
| 3. | Building has fire dampers? |  |  |
| 4. | Fire Dampers operate on fire alarm? |  |  |
| 5. | Systems operate on emergency generator? |  |  |
| 6. | Does the smoke removal system provide six air changes per hour? |  |  |
| 7. | Show calculations for measuring. |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
 3471 S. 35th St. Tacoma, WA 98409

# tfdcto@cityoftacoma.org