| SPECIAL SUPPRESSION SYSTEMS (One System per Report) | CTF 8013 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| SYSTEM TYPE | HALON | CO 2 | FM 200 | SPECIFY OTHER: |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Contact Person: | Phone Number: |
| System Information (where applicable) |
| Central Station Monitoring Yes No | Monitoring Company Name: |
| Control Panel Manufacturer: | Model Number: |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET NUMBER: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Corrected by: (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 2001 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| Tech Name: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklists below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system. Refer to the NFPA 2001 Standard for inspecting and testing requirements.

| EXTINGUISHING AGENT |
| --- |
| Agent Bottles | #1 | #2 | #3 | #4 |
| Design Weight |  |  |  |  |
| Actual Weight |  |  |  |  |

| SYSTEM FUNCTIONALITY | YES | NO |
| --- | --- | --- |
| Trouble signal with AC power off? |  |  |
| System operates properly on battery backup? |  |  |
| Battery voltage (no load) | volts |
| Battery voltage (full load) (signals operating) | volts (signals operating) |
| Charge circuit voltage | volts |
| System operates properly on standby power? |  |  |
| All signals operate on AC power |  |  |
| Number of initiating circuits: |
| Number of signal circuits: |
| Does the system meet audibility standards? |  |  |
| All circuits checked for electrical supervision? |  |  |
| All auxiliary equipment operates (Elevators, fans, dampers)? | N/A |  |  |
| Key to panel available? |  |  |
| Operating instructions at panel? |  |  |
| Test record posted at panel? |  |  |
| Hoses checked for damage? |  |  |
| Are warning signs installed? |  |  |
| Was time delay tested for operation? |  |  |

| System Devices | Total Number of Units in Building | Total Number Units Tested | Test Results Acceptable |
| --- | --- | --- | --- |
|  |  |  | YES | NO |
| Bells, Horns & Chimes |  |  | N/A |  |  |
| Voice Speakers (voice clarity) |  |  | N/A |  |  |
| Smoke Detectors |  |  | N/A |  |  |
| Heat Detectors |  |  | N/A |  |  |
| Duct Detectors |  |  | N/A |  |  |
| Visual Alarm Devices |  |  | N/A |  |  |
| Manual Pull Stations |  |  | N/A |  |  |
| Automatic Door Unlocks |  |  | N/A |  |  |
| Automatic Door Release |  |  | N/A |  |  |
| Manual abort switch |  |  | N/A |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

# tfdcto@cityoftacoma.org