| STANDPIPE SYSTEM ANNUAL REPORT (One System per Report) | CTF 8015 | System Certification Given |
| --- | --- | --- |
| CONFIDENCE TEST | REPAIRS |  | RED |  | YELLOW |  | GREEN |
| Standpipe Type/Class: | Dry | Wet | Class I | Class II | Class III |
| Date of Inspection: |
| Occupancy Information |
| Occupancy Name: | Occupancy Address: |
| Building Owner: | Phone Number: | Owner Address: |
| Responsible Person: | Phone Number: |
| System Information (where applicable) |
| Number of Stories: |
| Location of System (or area of coverage): |
| Testing Agency Information |
| City of Tacoma Fire Protection License: | Washington State Contractor License: | NICET Number: |
| Testing Agency Name: | Address: |
| Phone: | E-mail: |
| Problems Found: (Explain any “no” responses and use the back page if necessary) |
| Corrections Made: |
| Date Corrected: Name: (Print) (Sign) |
| This report certifies this fire and life safety system has been properly inspected for reliability to cover the items listed in the report and is consistent with NFPA 25 Standard. All discrepancies are noted and have been reported to the building owner or responsible person for corrective action. |
| Tech Name: (Print) | (Sign) | Date: |
| Building Representative: (Print) | (Sign) | Date: |

The items on the checklist below shall be inspected and tested. This list does not constitute all of the required inspecting and testing of the fire and life safety system.  Refer to NFPA 25 for inspection and testing requirements.

| ANNUAL STANDPIPE INSPECTION | YES | NO |
| --- | --- | --- |
| All valves to discharge outlets are in the closed position |  |  |
| Supply valves are open |  |  |
| Fire department connection is visible, unobstructed and connections swivel freely and caps are in place |  |  |
| Date of last Hydrostatic Test: | N/A |  |  |
| Date of last full Flow Test: | N/A |  |  |
| Partial flow test to move PRV from its seat? |  |  |

| ANNUAL HOSE INSPECTION | YES | NO |
| --- | --- | --- |
| Hoses examined for water, mildew, cuts, abrasions and deterioration |  |  |
| Hose drained, rehung or replaced |  |  |
| Hoses have working nozzles |  |  |
| Date of last Hydrostatic Test: |  |  |

Problems Found:

Corrections Made:

# Text boxes

# Tacoma Fire Department
Confidence Test Officer 253.591.5740
3471 S. 35th St. Tacoma, WA 98409

tfdcto@cityoftacoma.org