PRE-INSPECTION CHECKLIST

The following information is designed to help you identify potential fire code violations. These sections represent the areas where most problems are found.  If you complete this checklist prior to Fire Department Personnel inspecting your building, you will greatly reduce your chances of having any violations.

| Access & Premises | Yes | No | N/A |
| --- | --- | --- | --- |
| Are address numbers for the building of a contrasting color and clearly visible from the street? |  |  |  |
| Is the Gas Meter and piping protected from vehicle impact? |  |  |  |
| Is there a minimum of 3’ clearance around fire hydrants? |  |  |  |
| Egress (Exiting) |  |  |  |
| Are the exit ways and doors easily recognizable, unobstructed, and functional? |  |  |  |
| If the main exit door is provided with key-locking hardware as allowed by Code, is there a sign above the door that states “THIS DOOR MUST REMAIN UNLOCKED WHEN BUILDING IS OCCUPIED” and are all exit doors operable from the inside w/o the use of keys or any special knowledge or effort? |  |  |  |
| Are the exits and exit enclosures free from the storage of combustible materials? |  |  |  |
| Are fire doors with self-closing hinges maintained in the closed position (Not blocked open)? |  |  |  |
| Emergency Lighting/Egress Illumination/Exit Signs |  |  |  |
| If emergency lighting is required by code, is it maintained in operable condition? |  |  |  |
| Is the means of egress illuminated when the building or structure is occupied? |  |  |  |
| If exit signs are required, are they maintained and illuminated or self-luminous? |  |  |  |
| Does the backup-battery work? (Push the test button; the exit sign should illuminate under battery power.) |  |  |  |
| Electrical |  |  |  |
| Are all electrical outlets, switches and junction boxes properly covered with cover plates and is the electrical system safe from any apparent shock and/or other electrical hazards? |  |  |  |
| Are circuit breakers/fuses labeled so as to identify the area protected? |  |  |  |
| Is the area clear at least 36” in front of electrical panel(s)? |  |  |  |
| Are extension cords used only for temporary use? (Maximum 90 day usage) |  |  |  |
| Are extension cord(s) of heavy duty construction, maintained in good condition, and only used as temporary power to service a single small portable appliance? |  |  |  |
| Is the extension cord(s) grounding prong intact and present? |  |  |  |
| If seasonal decorative lighting is used, is it removed after 90 maximum days? |  |  |  |
| Fire Extinguishers |  |  |  |
| Is there access to fire extinguisher(s) rated at a minimum 2A-10BC? |  |  |  |
| Is the travel distance from all portions of the building less than 75’ to a fire extinguisher? |  |  |  |
| Are all fire extinguishers visible and accessible (not blocked)? |  |  |  |
| Have the fire extinguisher(s) been serviced/tagged by a fire extinguisher company within the last 12 months? (Proof of purchase taped to extinguisher is acceptable) |  |  |  |
| Are the fire extinguisher(s) properly mounted? (Proper locations-near exit doors where possible, not exceeding maximum travel distance, properly mounted (maximum 5’ high if > 40 lbs., maximum 3 ½’ high if < 40 lbs. In all cases, minimum 4” above the ground). |  |  |  |

| Heat Producing Appliances | Yes | No | N/A |
| --- | --- | --- | --- |
| If portable electric heaters are used, are they used safely? Are they plugged directly into wall outlets and kept a minimum of 36” away from combustibles? |  |  |  |
| Is the clearance between heat sources such as light fixtures, heaters, and flame producing devices, and combustible storage maintained at 36” clearance? |  |  |  |
| Housekeeping & Decorations |  |  |  |
| Is combustible rubbish that is stored in containers outside of common areas removed from the building a minimum of once a day? |  |  |  |
| Are oily rags or similar material stored in metal, metal lined, or other approved containers that are equipped with tight-fitting covers? |  |  |  |
| Are seasonal decorations treated with flame retardant or certified fire resistant? |  |  |  |
| Storage of Combustibles |  |  |  |
| Is the area beneath the stairwells and in common storage areas free of excessive combustibles? |  |  |  |
| Are the boiler rooms, mechanical rooms, and electrical panel rooms well maintained and free of all combustible materials? |  |  |  |
| Are rubbish containers over 5-1/3 cubic feet (40 gallons) provided with lids and made of non-combustible construction? |  |  |  |
| Are dumpsters that are 1.5 cubic yards or more not stored inside the building and placed more than 5’ from combustible walls, openings, or combustible roof eave lines? |  |  |  |
| Storage of Compressed Gas Cylinder |  |  |  |
| If you have compressed gas containers (such as co2, helium, etc.), are they chained to prevent from falling? |  |  |  |
| Storage of Combustible and Flammable Liquids |  |  |  |
| Are quantities in excess of 10 gallons of flammable and combustible liquids used for cleaning purposes and the operation of equipment stored in liquid storage cabinets? |  |  |  |
| Suppression System |  |  |  |
| Is your fire sprinkler system serviced annually and is it tagged to indicate it is in working condition? |  |  |  |
| Multi-Family Buildings |  |  |  |
| Do buildings 3 or more stories OR with 16 OR more units have a fire alarm system? |  |  |  |
| Do un-sprinklered buildings WITH a fire alarm have pull stations at each exit? |  |  |  |
| Are there heat detectors in the laundry room for buildings with a fire alarm? |  |  |  |
| Is fire sprinkler system monitoring provided for systems with more than 100 heads? |  |  |  |
| Do buildings 4 or more stories have a standpipe? |  |  |  |
| Do apartment buildings having 5 or more units have hardwired detectors with battery backup? |  |  |  |

# Text boxes

# Tacoma Fire Department
Fire Prevention Bureau 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org