Permit Application #2001.5 Tents, Canopies, and Membrane Structures

(Submit by hand, mail, fax – 253-594-7943, or e-mail to: TFDSEO@cityoftacoma.org)

To be completed by the Permit Applicant  (type in the grey box or print out and complete)

| Business Information |
| --- |
| Date: |  | Federal Tax ID: | UBI: |
| Applicant: |  | Driver License: |
| Address: |  | City | State | Zip |
| Event Address: |  |
| Contact Name: |  |
| Phone: | ( ) | Alternate Phone/Cell: ( ) |
| E-mail Address: |  |
| Event Name: | Type of Event: |
| Date of Event: | Start Time of Event: |
| End Time of Event: | Attach Tent Diagram showing its contents and a 30 foot area surrounding the tent. |
| City of Tacoma Business License: |  |
| Comments: |
| (Size of tent, configuration of tables, chairs, and open space – occupancy load to be determined with this information) |
| Please include a check made payable to the CITY OF TACOMA or request an invoice. |
| Check this box to have applicant invoiced for the permit fee. |
| FPB OFFICIAL USE ONLY |
| Approved By: |  | Date: |
| Denied: | Reason for Denial: |
| Site Inspection: | Approved: Corrective Measures: 1. 2. |
| Permit Number: |
| Permit Fees: | Date Received: | Receipt Number: | Check Number: |

See attached documentation for description of conditions that must be met prior to the issuance of this permit.                                                                                                                                             
                                                                                                                                                      –Tents-

PERMIT CONDITIONS: #2001.5  Tents, Canopies, and Membrane Structures

All of the following conditions must be met prior to the issuance of a permit.

1.  Time Lines:
     Applications are required to be submitted and approved 14 days prior to event commencing.

2.  Regulatory References:
     Regulatory references: International Fire Code 2015 Chapter 31

3.  Required submittals:

  - Tacoma Fire Department permit application

  - In the absence of an affixed label indicating flame retardant, fabric or materials type shall meet the following requirements:

An affidavit or affirmations shall be submitted to the Fire Code official and a copy retained on the premises on which the tent or air-supported structure is located.  The affidavit shall attest to the following information relative to the flame resistance of the fabric:

    - Names and addresses of the owners of the tent, canopy, or air supported structure

    - Date the fabric was treated with flame resistant solution

    - Trade name or kind of chemical used in treatment

    - Name of person of firm treating the material

    - Name of testing agency and test standard by which the fabric was tested

  - Occupancy load greater than 50 persons will require a detailed site and floor plan showing all exits, stages, or other pertinent information.

  - Occupancy load shall be posted at entry of tent

The number of occupants shall be computed at the rate of one occupant per square feet of area.

- Assembly without fixed seating – Open tent concentrate (chairs only, not fixed) divide by 7, standing space divide by 5, unconcentrated (tables and chairs) divide by 15.

Example:  Tent size 30x50 with tables and chairs

Square footage of tent = 1500/15 would allow 100 person occupancy

load

Note:  If a stage will be inside the tent, the square footage of the stage will be subtracted from the overall square footage of the tent.

Example:  10x10 stage = 100 square feet

Tent square footage = 1500 – 100 = 1400/15 = 94 person occupancy

load

4.  Inspection requirements:

- Inspection required prior to use for a public assembly event.

- Inspections may be conducted during permit use period.

5.   Requirements:

- All membrane structures, tents, or canopies shall have a permanently affixed label bearing the identification of the size and fabric or material type.

- Enclosed tents and membrane structures over 400 square feet and canopies over 700 square feet require a permit.

- 20 foot separation from structures and other tents. 3103.2 Excep. 2.2

- Tents shall not remain erected for more than 180 days in a 12 month period.

- Hay, stray, shavings or similar combustible materials shall not be located in any tent.

- Sawdust or wood shavings are permitted on the floor if material is kept damp.

- Door shall have opening force less that 15 pounds.

- No smoking permitted in the tent.

- No open flames permitted within 20 feet of the tent. (Ex. firepit, welding, etc.)

- No heating/cooking equipment shall be permitted within 10 feet of an exit or combustible material.

- No fireworks allowed within 100 feet of the tent.

- Vegetation and/rubbish shall be a minimum of 30 feet separation from the tent unless approved the Tacoma Fire Department.

- The use of LPG (propane) and cooking requires a separate permit.

- Anchorage required – 15 lbs. per leg shall be adequately roped or braced and anchorage should

be able to withstand the elements of weather.

# Text boxes

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

# Tacoma Fire Department